## Slide 1: Project Schedule
Task/Deliverable | Sub-task/Description | Month |  |  |  |  |  |  |  |  |  |  | 
 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
1. Investigating standard NL-MOR algorithms for HX application | 1.1: Reformulation of FVM-HX |  |  |  |  |  |  |  |  |  |  |  | 
 | 1.2: Investigation standard NL-MOR methods |  |  |  |  |  |  |  |  |  |  |  | 
2. Investigation of alternative NL-MOR method | 2.1: Feasibility test of the proposed algorithm |  |  |  |  |  |  |  |  |  |  |  | 
 | 2.2: Performance test of applying alternative NL-MOR to HX |  |  |  |  |  |  |  |  |  |  |  | 
3. Performance assessment | Performance assessment of integrated approach for VCC system |  |  |  |  |  |  |  |  |  |  |  | 
5. Final report |  |  |  |  |  |  |  |  |  |  |  |  | 

## Slide 2: Reformulation of FVM-HX

## Slide 3: Case Study Chiller System
90-ton centrifugal chiller system tested under various operating conditions.
Refrigerant used is R134a and the secondary fluid is water.
Chiller components:
  Shell-and-tube condenser
  Shell-and-tube evaporator
  Centrifugal compressor
  Thermostatic expansion valve
  controller

## Slide 4: Simulation Environment: Dymola
A Modelica-based commercial platform with strong differential algebraic equations (DAE) solvers.
Modelica is an equation-based object-oriented modeling language that could accommodate acausality of system variables.

## Slide 5: Chiller System Simulation
Condenser
TXV
Evaporator
Compressor
Controller

## Slide 6: Simulation Results
Pressure Validation
Exit Enthalpy Validation
Exit Water Temperature Validation

## Slide 7: Simulation Time
Simulation | Thermoproperties | Real time factor [-]
FVM_u (Dymola) | Neural Networks (NN) | 0.195
FVM_Ph (Dymola) | Media | 0.98
FVM_Ph (MATLAB) | CoolProp | 0.898
MB_Ph (MATLAB) | CoolProp | 0.128